# Detectors (Sensors)
### for electromagnetic radiation

CCD and CMOS discern technological detail, both relay on inner photoelectric effect, material as further technological detail may affect range in spectrum

Dimensionality: 2D (default), 1D = line sensor, 0D = photodiode, 0,5D = quadrant photodiode

photographic film, ImagePlate

### for particles
CR39 track detector, scintillator, ionization chamber, ICT, Faraday cup, diode (diamond detector), ImagePlate

# Devices
Sensor with objective (also objective = none, e.g. near-field capture,...)
Camera: Sensor with objective, performing an imaging task
Focus diagnostic: Sensor with dedicated objective and motors
Wavefront sensor: Sensor with specific mask, often with imaging
Gated CCD / iCCD: Sensor imaging an MCP, which provides high gain and/or time-dependent gain; input depends on MCP sensor
Streak Camera: Sensor imaging a streak tube, input to match phosphor