HELPMI Common Phrases/Categories

1. Technical Metadata
  1. Manufacturer or in-house design
  2. Model name/number
  3. Serial number
  4. Operating software and version number, dependencies (Win, Linux?, .NET?)
  5. Calibration data (Manufacturer)
  6. Last calibration date
  7. Pixel count in horizontal direction
  8. Pixel count in vertical direction
  9. Pixel size and/or pitch
  10. Noise measurement
  11. Technical drawing/file of device/setup
2. Procedural Metadata
  1. Name of detector/device as used in experiment
  2. Location of detector/device as used in experiment
  3. Schematic of detector’s/device’s setup
  4. Schematic of imaging/focusing setup
    1. Lens, objectives, filters, etc.
    2. Imaging distances
  5. Custom calibration, Point Spread Function (PSF), Flatfield, Gainmap (links to data)
  6. Exposure, Shutter mode (rolling/global)
  7. Gain
  8. Binning
  9. Trigger and Timing (Delay)
3. Security/Access Metadata
4. Data
  1. Input/output energy
  2. Input/output polarization
  3. Input/output FWHM beam diameter
  4. Input/output spectrum
  5. Input/output spectral FWHM
  6. Input/output central wavelength
  7. 2D array of pixel values